	
[image: image1]
	Compressed air – check list
	Page 1 of 2

	Project Number
	Project Title

	Outage Manager
	Site Manager

	Document Number
	Date



	Proposed Work Methodology

	Work Party
	

	Location
	

	Description
	


	Review of Proposed Procedures & Equipment

	Mandatory Requirements

	Hazard
	Control Measure
	Checked

	Unidentified Job Specific Hazards
	JHA to be carried out by staff detailing on the day hazards that could not be practically assessed prior to attending site in addition to this “Check List”. All staff to sign on to JHA accepting this form and the on the day hazards and controls. JHA has been completed and approved by the relevant personnel in accordance with the JHA Procedure


	

	Hydro Specific Hazards-Lack of awareness of local asset & other.

Simultaneous Operations?
	Project or Outage manager to notify work party of ALL Hydro Tasmania Assets in area (including Protection PLC, Mechanical, Electrical and Civil Assets). 
Work party to inspect and make safe
	


	General Requirements

	Hazard
	Hazard
	Hazard
	Hazard

	General Precautions
	Wear appropriate protective equipment
	
	

	
	Inspect air hoses regularly for damage
	
	

	
	Ensure hoses and couplings are in good condition
	
	

	
	Ensure the end of the hose is connected securely to equipment and air outlets before turning on the supply
	
	

	
	Use couplings which have provisions for safety locking pins, and use the safety locking pins
	
	

	
	Hoses with larger than 30mm bore, must be coupled with the correct clamps provided with the couplings.  These hoses must also be fitted with an internal steel cable connected to each coupling with locking pins.
	
	

	
	A whip check or chain must be used on the outside of couplings.
	
	

	
	Compressed air must not be used to clean down clothing, blow dust out of hair, or provide body cooling.
	
	

	
	Before turning on the compressed air supply to a machine or air tool, ensure that the controls are in the off position.
	
	

	
	Turn off the air supply and discharge the air before disconnecting tools or equipment.
	
	

	
	Never use compressed air to pressurise or blow out drums or tanks.  These containers are seldom, if ever, constructed for use as pressure vessels and serious damage or injury may result should the vessel rupture.
	
	

	Warning Notice
	In each work place where compressed air is used, at least one warning sign is to be prominently displayed.
	
	

	
	In addition to the sign required above, a ‘stick on’ vinyl sign is to be displayed as close as possible to each compressed air outlet.
	
	


	Site Registration (Note: Applies to all Work Parties and personnel working on site)

	Requirement
	Checked

	Permit to Work issued
	

	Visitors register sheet or emergency board being used. Site Map issued (showing emergency assembly areas and fire equipment)  
	

	Hydro Tasmania Level 2 O H & S Induction complete
	

	Hydro Tasmania Level 3 Site induction complete
	


S

	Additional Personal Protective Equipment (Compliant with Australian Standards)

	Requirement
	Checked
	Requirement
	Checked
	Requirement
	Checked

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	Certification

	I have personally checked and verified all items on all pages of this check list

	Project or Outage Manager Name
	Signature
	Date

	
	
	

	I acknowledge and agree that all items are detailed on all pages of this check list. I agree to ensure that all employees and sub-contractors engaged in this work will fully comply with all control measures indicated

	Manager of Work Party Name
	Signature
	Date

	
	
	


	Document Reference: 
	Revision: 0
	
	Date: 24/11/2010



[image: image1][image: image2.png]Hydro
Tasmania

The power of natural thinking



