Prompt words are to stimulate ideas or provide questions on possible Hazards during the construction phases. Many may be irrelevant, but some will unexpectedly hit home. They are not intended to be a complete or exhaustive list and maybe added to by the project manager. Duplicated prompts may be deleted when multiple phases are analysed together.

  - Pre-mobilisation, Mobilisation, Early Works, Site Set Up and Demobilisation

| - Prompt Word | - Examples |
| --- | --- |
| - Notifications | - approvals to start work - external permits - TasNetworks - planning - building - DSG - threatened species - aboriginal heritage - cultural heritage - notifications to land owners - notification to stakeholders - public events - notifications to WorkSafe (asbestos, lead risk work) |
| - Security | - security guards and hours required - theft - vandalism - mistaken access (general public) - locks |
| - Fencing | - temporary fencing - existing gates - new gates |
| - Delineation | - work areas - exclusion areas - restricted areas |
| - Access | - gate intercom or phone - roads - condition (pre and post work survey) - permission to use - maintenance - suitability for use - bridge capacity - loose surface - slippery surface - rough surface (punctures) - out of hours permission - keys - security codes - swipe cards - additional inductions - HT - Contractors - authorisation to start work |
| - Traffic Management | - parking facilities - access routes - haulage routes - vehicle hygiene - signage - delineation |
| - Laydown Areas | - equipment parking area - dry area - stockpile area |
| - Site Buildings / Amenities | - existing - number required onsite - office - crib room - changing room - toilets - plumbing - electrical - location onsite - consumables - cleaning |
| - Workers | - number onsite - organisational structure - Site meetings - accommodation - work hours - HT site presence - existing injuries - supervision |
| - Training | - incompetent Workers - inexperienced Workers - specialist tasks and specific training - verification of qualifications |
| - Communication | - TMR - landline - mobile - satellite phone - internet |
| - Emergency | - contacts - power - communications - fire fighting - contingency plans - fire - flood - ambulance - helicopter - dam safety - meeting point - first aid - kits - defibrillator - oxygen - spill kits |
| - Environmental | - known Risks - Hazardous Chemicals onsite - refuelling area (bunded) - flora fauna disturbance - ground disturbance - aquatic disturbance - air quality - noise - washdown area - erosion / sedimentation - Aboriginal heritage - historic / cultural heritage - weeds - World Heritage Area - rainfall and run off - drains - waterways - controls already in place |
| - Waste Management | - general waste - food scraps - recycling - concrete - reinforced - slurry - scrap steel - oil - oil contaminated waste (rags, soil etc.) - lead - Asbestos - PCBs - SF6 - mercury - sewage - spoil |
| - PTWs | - master - subsidiaries - AIO - PIC - civil experience / competency - mechanical experience / competency - electrical experience / competency |
| - Vehicles | - vehicle standards (4x4, diesel etc.) - bus - limitation of vehicles onsite - flashing beacon / flags |
| - Equipment Compliance | - vehicles to standards - mobile plant to standards - station assets (crane, pressure vessels) - test and tag |
| - Transport of Goods | - transport plan - unsecured loads - contact person / process |
| - Transport of Hazardous Goods | - substances - specific requirements - transport plan - quantities onsite |
| - Loading / Unloading | - mobile plant - rigging equipment failure - station crane operator availability - uneven ground - soft ground - turning vehicles - working at heights - interactions between Contractors - storage (long term, short term) |
| - Underground Services | - locations - types |
| - Aboveground Services | - locations - types |
| - Concealed Services | - locations - types - consider non-standard electrical cabling risk |
| - Signage | - project & contacts - Emergency meeting point - tag board - specific Hazards – open trenches, overhead lines etc. |
| - Job Planning | - critical tasks - sensitive tasks - tasks likely to be rushed - shortcuts likely to be taken - remote work - simultaneous operations - conflict |
| - Development of SWMS, JHA | - capture all Hazards - pre mobilisation Site visit by Workers - new Workers work practices to be observed |

  - General Works and Scope of Works

| - Prompt Word | - Examples |
| --- | --- |
| - Fatigue | - travel - working hours - pressure (e.g. schedule slip) - stress - rotations - sleep deprivation |
| - Hygiene | - changing Site conditions - environmental - waste removal |
| - Cranes | - ground failure - soft base - underground chambers, pipes etc. - ground strength - load assessments - sufficient outrigger area - overhead power lines - falling objects - station crane operator - specialist lift studies |
| - Mobile Plant | - contaminations from other Site - compliance - competent operator - toppling - falling objects - equipment failures - reversing - collision - overhead power lines - falling objects - unguarded rotating / moving plant |
| - Excavations | - open trenches - Workers and traffic management - loading of edges (excavator etc.) - barricading - inspection requirements |
| - Working at Heights | - access - scaffolding - EWP - ground conditions etc. - anchor / attachment points - wind - barriers - specialist rope access |
| - Working with Tools | - correct tool - PPE requirements |
| - General | - noise - vibration - heat / cold extremes - unguarded rotating / moving plant - confined space - falling objects - explosive atmosphere - accidental energisation - electrical arcing - radiation - compressed air - working next to a road |
| - Manual Handling | - ergonomics - repetitive tasks - ducking / twisting - mechanical devices - storage at waist height - walkways, paths |
| - Demolition | - propping - reduced structural strength |
| - Hot Work | - fire extinguisher - water tanker - hot work area - grinding - fire bans |
| - Diving | - plant in service - flow - depth - pressure differential (valve etc.) - simultaneous operations - air source contamination |
| - Painting | - lead based paint - chromium based paint - grit blasting - ultra high pressure water - atmosphere - over blast / spray |
| - Electrical | - live panel - arc flash - correct qualification - PCB - SF6 - interaction with external parties (TasNetworks) - induction |
| - Hytorc Spanner | - incorrect fittings - damage - training / qualification to use - competency |
| - Compliance | - engineering certification of structures |
| - Consumable Supplies | - insufficient - availability - delivery frequency |
| - Weather | - effects of changing conditions - shelter areas - shade - heat - cold - ice - snow - thermal expansion and contraction - lightning |
| - Water | - boating - waves - spindrift - drowning - flow - hypothermia - inundation |
| - Earthing | - switchyard - fencing - pipework - working earths - trailing earths |
| - Helicopter | - landing area - refuelling area - rigging for moving load |
| - Site clean-up | - remaining Hazards - rubbish - rehabilitation - waste - drainage - road condition |