	[image: image1.png]=




	Health, Safety and Environment

	
	HSEF0929.3 – Lead-Based Paint Removal Checklist

	
	Approved by: WHS & HSE Systems Manager
	Revision: 2
	Date: Jun 2015
	Page 1 of 3

	Form variations to suit user, system / software constraints, legal requirements or corporate requirements are permissible, as long as the intent of the form is not compromised.

	Project Number
	Project Title

	AIO / HT Job Mgr
	PIC / PCMW

	Document Number
	Date



	Proposed Work Methodology

	Work Party
	

	Location
	

	Description
	


	Review of Proposed Procedures & Equipment

	Mandatory Requirements

	Hazard
	Control Measure
	Checked

	Job Specific Hazards
	JHA and supporting SWMS has been completed and approved by the relevant Workers in accordance with HSEP0301 – Hazard Identification and Operational Risk Management Procedure
	

	HT Specific Hazards-Lack of awareness of local asset & other.

Simultaneous Operations?
	AIO / HT Job Mgr (or Area Manager) to notify work party of ALL Hydro Tasmania (HT) Assets in area (including Protection PLC, Mechanical, Electrical and Civil Assets). 

Work party to inspect and make safe
	


	General Requirements

	Hazard
	Control Measure
	N/A
	Checked

	Lead-based paint general
	For ‘Minor’ work, if not certain, assume that all painted surfaces contain lead 
	
	

	
	If possible sample material to confirm or sample with lead test pen
	
	

	Removal of lead-based paint using wet scraping / sanding method
	Wear respirator with P2 cartridge (dust and fumes) during removal and clean-up
	
	

	
	Use of power grinder is to be kept to a minimum
	
	

	Personal hygiene
	Wash hands and face after completing work tasks
	
	

	Lead dust remaining on equipment or structures near paint removal area
	Clean dust, equipment and dispose as contaminated waste
	
	

	Managing lead-based paint waste
	Bag, seal, clearly label and store (including rags used for cleaning. Lead contaminated waste is a controlled waste and must be dealt with in accordance with HSEF0914 - Waste Management Procedure 
	
	


	Site Registration (Note: Applies to all Work Parties and Workers working on Site)

	Requirement
	Checked

	Permit to Work issued
	

	HT Induction HSE (Level 2)
	

	HT Induction Site Specific (Level 3)
	


S
	Additional Personal Protective Equipment (Compliant with Australian Standards)

	Requirement
	Checked
	Requirement
	Checked
	Requirement
	Checked

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	Certification

	I have personally checked and verified all items on all pages of this checklist

	AIO / HT Job Mgr Name
	Signature
	Date

	
	
	

	I acknowledge and agree that all items are detailed on all pages of this checklist. I agree to ensure that all Workers including sub-contractors engaged in this work will fully comply with all Control Measures indicated

	PIC / PCMW Name
	Signature
	Date

	
	
	


	Daily Review

	If There is a significant change in Work and or Conditions a new Checklist is Required 

	Date and Time
	Reviewed / Comment
	New Checklist Required

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


	Caution: Printed Document is UnControlled  
	Print Date: 11/12/2015



[image: image1.png]