This is a generic checklist / meeting meetings for Hazard Study Stage 5 - Handover Readiness. This initial document is not intended to cover all issues and potential Hazards but to assist the Hazard Study Team by providing a starting point for discussions.

Programme / Project:

Hazard Study Date:

Hazard Study Leader:

Study Team:

| Description | Proposed Action (if any) | Action By | By When | Completed (Yes or No or N/A) |
| --- | --- | --- | --- | --- |
| General |  |  |  |  |
| Scope and objective this meeting / process identified and understood? |  |  |  |  |
| HSEF0304.4 – Hazard Study Stage 4 Commissioning Readiness Checklist Actions reviewed and any uncompleted actions do not prevent the plant from being returned to service? |  |  |  |  |
| Any operational constraints identified as a result of commissioning documented, approved by the Production Manager and communicated to GenOps? |  |  |  |  |
| Undesirable running ranges identified? |  |  |  |  |

| Description | Proposed Action (if any) | Action By | By When | Completed (Yes or No or N/A) |
| --- | --- | --- | --- | --- |
| Have all the commissioning tests and associated results been accepted? |  |  |  |  |
| Have all temporary settings / software bridges required during commissioning been removed? | PLC Governor AVR Protection Vibration |  |  |  |
| Punch list updated, reviewed and uncompleted items are acceptable and will not prevent return to service? |  |  |  |  |
| Compliance |  |  |  |  |
| Has Tasnetworks approval for return to service been received? |  |  |  |  |
| Are there any legislative / compliance requirements that have been overlooked? |  |  |  |  |
| If required, are any environmental and other permits in place? |  |  |  |  |
| Are mandatory inspections planned for? |  |  |  |  |
| Description | Proposed Action (if any) | Action By | By When | Completed (Yes or No or N/A) |
| Have all settings data and software versions been entered into Samson? | PLC Governor AVR Protection Vibration |  |  |  |
| Human Interface |  |  |  |  |
| Have procedures that required revision as a result of commissioning been updated? |  |  |  |  |
| Are Operators trained and qualified to operate the plant as commissioned? |  |  |  |  |
| Are Operators aware of any operating limits? |  |  |  |  |
| Are maintenance requirements in place? |  |  |  |  |
| Are lubrication requirements in place? |  |  |  |  |
| Alarms |  |  |  |  |
| Have alarm limits / settings been updated as a result of commissioning? | PLC Governor AVR Protection Vibration |  |  |  |
| Description | Proposed Action (if any) | Action By | By When | Completed (Yes or No or N/A) |
| Are Operator actions & priority of alarms clearly defined? |  |  |  |  |
| Are ECS required alarms active? |  |  |  |  |
| Are all ‘nuisance’ alarms resolved or if not, documented on the Punch list? |  |  |  |  |
| Any Other Considerations |  |  |  |  |
| Hardware bridges / forces remaining | PLC Governor AVR Protection Vibration |  |  |  |
| Description | Proposed Action (if any) | Action By | By When | Completed (Yes or No or N/A) |