	[image: image1.png]=




	Health, Safety and Environment

	
	HSEF0304.6 – Hazard Study Finalisation Review Checklist

	
	Approved by: WHS & HSE Systems Manager
	Revision: 1
	Date: Jun 2015
	Page 2 of 2

	Form variations to suit user, system / software constraints, legal requirements or corporate requirements are permissible, as long as the intent of the form is not compromised.



This is a generic checklist for Hazard Study Stage 6 Finalisation Review. The checklist is not intended to cover all issues and potential Hazards, but rather form a starting point for discussion or else assist review by the Study Team.

Programme / Project:


HAZID Date:


Hazard Study Leader:

Study Team:
Given the operational experience to date……
	Scope / Justification
	Y / N


	· Have the project objectives / targets been achieved for risk / output / efficiency?
	· 

	· Review the actions from Hazard Study Stage 5 - Handover Readiness to confirm that agreed actions have been completed or that any changes are justified. 
	· 

	Equipment
	Y / N


	· Has equipment operation been satisfactory? 
	· 

	· Does the equipment operate reliably?
	· 

	· Are fault / breakdown levels acceptable?
	· 

	· Have adequate spares been identified, purchased (where required), placed in store and SAP updated
	· 

	· Is regularly scheduled maintenance being carried out?
	· 

	Control Systems & Alarms
	Y / N


	· Have any logic errors been discovered?
	· 

	· Are alarms installed where necessary?
	· 

	· Are there unnecessary local or ECS alarms?
	· 

	· Are there nuisance local or ECS alarms?
	· 

	· Are alarm limits properly set?
	· 

	Documentation & Knowledge Transfer
	Y / N


	· Have any changes made since commissioning been properly documented? 
	· 

	· Has the transfer of knowledge from the ‘Project’ to the operating environment been successful?
	· 

	· Have Operating Instructions been updated / completed?
	· 

	· Have Maintenance Instructions been updated / completed? Has SAP been updated?
	· 

	· Has regularly scheduled maintenance been documented and updated in SAP?
	· 

	· Has the AIL been updated?
	· 

	· Has (or will) a Project Implementation Review meeting be carried out?
	· 

	· Has (or will) Project Implementation Review Report be completed?
	· 

	Compliance
	Y / N


	· Are there any legislative / compliance requirements that have been overlooked?
	· 


Document any issues that are agreed to be resolved and by who. As some of these issues could be outside the project scope, an agreement needs to be reached on how this future work will be approved and implemented.

	Caution: Printed Document is UnControlled  
	Print Date: 25/07/2015



[image: image1.png]