| Permit to Work ID No. (If used): PTW |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name or company performing work: |  |  |  |  |  |  |  | Location/Worksite: |  |  |  |  |  |
| Permit valid from: Date: |  |  | Time: |  |  |  | to Date: |  |  |  | Time: |  |  |
| Description of work: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety Measures Checklist |  |  |  | Yes-No-N/A |  |  |  |  |  |  |  |  | Yes-No-N/A |
| Have all potential health and environmental hot work hazards been identified and controlled? E.g asbestos dust from grinding, lead paint, fumes etc. |  |  |  |  |  | Is the weather appropriate for the work? Monitor weather alerts, total fire bans and other conditions through the Local Fire Service. |  |  |  |  |  |  |  |
| Is there appropriate fire-fighting equipment available and is it fully charged, in date and ready? |  |  |  |  |  | Has all equipment been inspected, serviced, in date and in good condition? (e.g, guarding, hoses, leads and cables) |  |  |  |  |  |  |  |
| Is area clean and free of combustibles for a distance of at least 15m? |  |  |  |  |  | Have any drains or pits in area been checked, isolated, sealed and covered? |  |  |  |  |  |  |  |
| Ducting or air systems that may carry sparks or smoke have been protected or isolated? |  |  |  |  |  | Is there access to reliable communication in case of an emergency? |  |  |  |  |  |  |  |
| Have smoke detectors been isolated? (VESDA etc.) |  |  |  |  |  | Are fire permits (issued by Tas fire) required and have they been obtained? |  |  |  |  |  |  |  |
| Any other precautions (e.g could hot work fumes or grinding sparks affect those working in adjacent areas? |  |  |  |  |  | Are flashback arrestors fitted to Oxyacetylene systems and have they been inspected/tested within the last 12 months? |  |  |  |  |  |  |  |
| Is spark containment in place? |  |  |  |  |  | Is screening for welding flash in place? |  |  |  |  |  |  |  |
| If working in a confined space, has a confined space entry permit been obtained and results of gas testing recorded? |  |  |  |  |  | Have emergency procedures been established that are specific to the location and scope of work and been understood by all involved in the work? |  |  |  |  |  |  |  |
| Where an above control cannot be reasonably implemented, the Hydro Tasmania Group Supervisor and the person conducting the work MUST perform a risk assessment to identify suitable alternate controls. There are no alternate suitable controls for a local fire service directive. Alternate controls or notes are to be listed below or on an attached SWMS. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Add extra notes or controls here. For example: Listing isolation points Describing alternate controls where maintaining a 15m clearance zone is not possible Weather conditions etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attached additional controls / permits / isolations required. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐Safe Work Method Statement (if required) | ☐Emergency Plan |  |  |  | ☐Confined Space Permit |  |  |  | ☐Isolations |  |  | ☐Fire Permit or other authorisation |  |
| Area Coordinator Approval for planned vegetation management burning (use only for planned burning) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| All relevant authorities (Local Fire Service, etc.) have been notified of the planned burning and all permits and authorisations have been obtained. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Name |  |  |  |  |  |  |  | Signed |  |  | Date |
| Area Coordinator |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Authorisation Handover – Permission to commence work |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The control measures and precautions for Hot Work have been implemented and the persons required to complete the work have been advised of and understand the requirements of this written authority. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Name |  |  |  |  |  |  |  | Signed |  |  | Date |
| Permit Approver |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Persons conducting work |  | [remove or add rows according to the size of the work party] |  |  |  |  |  |  |  |  |  |  |  |
| Persons conducting work |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Persons conducting work |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Safety Observer – Mandatory (Monitor the area for signs of fire during the work and for at least 30 minutes on completion of task) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sign Off - Handback |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Work area has been inspected and monitored for a minimum of 30 minutes and has been left in a safe and operable condition with no signs of fire. Isolations and other controls put in place for the work have been returned to their previous condition. It is safe for normal operations to resume |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Name |  |  |  |  |  |  |  | Signed |  |  | Date |
| Persons conducting work |  | [As above] |  |  |  |  |  |  |  |  |  |  |  |
| Persons conducting work |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Persons conducting work |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety Observer |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Approver |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note: The Permit Approver is:

Any person with an understanding of the risks associated with the hot work and how to apply relevant controls to complete the work safely. The permit approver should not be the person who prepares the hot work permit for approval and assumes the responsibilities outlined in the Hot Work and Fire Management Procedure.

On days of a total fire ban, all hot work permits issued for open air locations are to be cancelled.