## Slide 1: Integrated Hazard & Operability Study
Presentation Template

## Slide 2: HAZID / HAZOP / CONSTRUCTION STUDY
Project name goes here
Only keep the study type being completed

## Slide 3: Opening Welcome
Welcome, everyone, and thank you for joining today’s Hazard Study.
Before we begin, let’s quickly review the agenda for today:

## Slide 4: Agenda
Welcome & Introductions
1. Welcome to country
2. A little about who Hydro is
3. Facilitator opening statement
4. Purpose of the study
5. Introduce participants and roles
Scope & Objectives
1. Job Managers opening
2. Confirm assumptions and exclusions
3. Ground rules
Hazard & Opportunity Identification& Analysis
1. For HAZID: Identify hazards, causes, consequences
2. For HAZOP: Node-by-node deviation analysis
For Construction: 3. Review site-specific hazards by phase
4. Document existing safeguards
Recommendations & Actions
1. Recap key findings
Next Steps
1. PRR and hazard study actions list
2.Dissemination or PRR & actions list to stakeholders
3. Responsible persons to complete actions and provide evidence the Job Manager

## Slide 5: Welcome & Introductions

## Slide 6: Welcome to Country (Job Manager)
        Return to contents page
Hydro Tasmania pays respect to the rich, long and ongoing history of the Traditional Owners and Custodians and their connections to land, sea and community.
The mountains, natural lakes and rivers that capture and channel water for hydropower are rich in Aboriginal history, culture and tradition. We acknowledge ongoing connection to culture and custodianship of the lands and waters of places we share. We pay our respect to Elders past and present and extend that respect to all Aboriginal and Torres Strait Islander peoples today.

## Slide 7
Return to Contents Slide
Who we are (Job Manager)

## Slide 8
Return to Contents Slide

## Slide 9: Facilitators Opening
        Return to contents page
HAZID (Strategic Focus)
Welcome everyone.
Today we are looking at this project from 30,000 feet.
Our goal is to find the 'Project Killers'-the macro environmental, legal, and site risks-before we spend a dollar on detailed design.
But more importantly, we are here for Site Optimisation.
I want us to look at this plot plan and ask: 'Are we building this in the right spot to maximise efficiency?’
Technical HAZOP (Technical Focus)
We are diving into the 'Nodes' today.
We assume the design works as intended; our job is to ask what happens when it doesn’t.
We will use the Guide Words to stress-test the P&IDs.
However, keep an eye out for Design Simplification. If you see three valves where one would do, or a way to remove a maintenance headache, that is a 'Value Win' for the PRR.
Construction HAZOP (Execution Focus)
Today is about the 'Clash.’
We have the 3D model and the SIMOPS schedule.
We are looking for where trades and/or tasks overlap and where energy is live.
Our focus is on Installation Efficiency.
If we can modularise a component or change a sequence to get off-site faster and safer, we need to capture that opportunity today.
Select the statement that matches the study type, modify as desired
(Delete me)

## Slide 10: Purpose of Today’s Study (Facilitator)
        Return to contents page
HAZID – Hazard Identification Study
Purpose:
To identify the major hazards and risks early in the project before designs, plans or methods are locked in.
What this session aims to achieve:
Capture all the big-picture hazards
Understand what could go wrong and why
Highlight areas needing deeper review later
Make sure risks are recognised early enough to influence design and planning
In short: HAZID helps us find the risks early so we can design them out or control them properly.
Technical HAZOP – Hazard and Operability Study
Purpose:
To test a mature design in a structured way to ensure it can be built, operated, maintained, and controlled safely and reliably.
What this session aims to achieve:
Check the design for weaknesses or unintended consequences
Identify what happens when things don’t operate as expected
Verify alarms, interlocks, controls, and safeguards
Ensure the plant/process is safe and workable for operations
In short: HAZOP digs deep into the design to confirm it is safe, operable, and fully thought through.
Construction HAZOP - Hazard and Operability Study
Purpose:
To identify and control risks associated with how the work will be built, including methods, sequencing, temporary works, access, interfaces, and contractor activities.
What this session aims to achieve:
Identify hazards specific to construction activities
Review the planned methodology for risks
Confirm safe access, lifting, isolation, staging, and traffic arrangements
Ensure appropriate controls are in place before work starts
In short: A Construction Hazard Study focuses on the risks that only exist during construction and ensures the build can be delivered safely.
Select the statement that matches the study type, modify as desired
(Delete me)

## Slide 11: Introductions “Who’s Who” (Job Manager)
        Return to contents page
Please share:
Your name
Your role
Your connection to this project
What you want to get out of today’s workshop

## Slide 12: Scope & Objectives

## Slide 13: Job Managers Opening
        Return to contents page
Thanks, everyone.
Building on the facilitator’s introduction, I’d like to briefly outline the project context and our expectations for today’s hazard study.
As the Job Manager, my role is to ensure this assessment gives us a clear understanding of the hazards, risks, and operational challenges and opportunities associated with this scope of work.
This study is a critical part of our overall risk‑management process, and it helps us verify that the design, planning, and operational controls fully support safe, reliable, and compliant delivery.
I want to emphasise that your experience and technical insight are essential. Please speak up if something doesn’t look right, if an assumption needs to be challenged, or if you believe a risk needs deeper consideration.
The goal here is not just to meet a procedural requirement-it’s to genuinely improve the safety, operability, and maintainability of the final outcome.
By the end of this session, I’d like us to have a shared and well‑documented understanding of the main hazards and opportunities, agreed actions, and any follow‑ups required for the next stage of the project. Thank you again for your participation, your contribution is greatly valued.
I’ll now hand back to the facilitator so we can begin working through the nodes.
The Job Manager’s opening statement plays a critical role in setting the tone, clarity, and purpose of a hazard study.
While the facilitator explains the process, it is the Job Manager who provides the context and authority that gives the session meaning.
Review and amend as required to suit the specific study.
Define the boundaries of the study, consider discussing drawings, P&IDs, schedules that would add introductory value)
Confirm assumptions and exclusions
(Delete me)
Determine the most suitable slide formatting for your style i.e. everything on the screen or some highlights, dot points, images and the discussion points in the notes below for only the presenters to see.
(Delete me)

## Slide 14: Ground Rules (Facilitator)
        Return to contents page
Safety and Environment First
The purpose of this study is to improve safety & Environmental outcomes-every comment matters.
Respect and Collaboration
All participants are encouraged to share ideas openly.
Listen actively and respect differing viewpoints.
Stay Within Scope
Focus on the defined boundaries of the study.
Avoid unrelated topics or design debates outside the agreed scope.
Don’t try and fix hazards or opportunities, the goal is identification, the fix comes next.
No Blame Culture-The study is about identifying hazards and opportunities, not assigning fault.
Treat all findings as opportunities for improvement.
Evidence-Based Discussion
Base comments on facts, drawings, and data where possible.
Avoid assumptions unless clearly stated.
Structured Process
Follow the facilitator’s guidance and methodology (HAZID, HAZOP, etc.).
Use guidewords and systematic review-don’t skip steps.
Action-Oriented
Document hazards, safeguards, opportunities, and recommendations clearly.
Assign responsibilities and timelines for actions.
Confidentiality
Information discussed is for safety and environmental improvement only.
Do not share outside the agreed group without permission.
Time Management
Stick to the agenda and allocated time per node/section.
Raise critical issues promptly.
Consensus Where Possible
Aim for agreement on recommendations.
Create actions for unresolved issues for further review.
There are no silly questions!

## Slide 15: Hazard and Opportunity Identification & Analysis

## Slide 16: HAZID Slide Template

## Slide 17
HAZID Checklist Review (Hazard Identification)
Introduction
During a HAZID workshop, we use a structured prompts and checklist to help the team think broadly about potential hazards.
The aim is not to judge or score items, but to prompt discussion and ensure nothing obvious is overlooked.
Next
We will work our way through the prompt sheets.
Following the Prompt Sheets we will review the HAZID Checklist
This acts as a memory‑jogger drawn from many industry sources
Helps us team scan widely across possible hazard categories
Participants are encouraged to raise issues early, even if uncertain
We will skim through the list together, pausing only when a point triggers discussion.
Everyone is encouraged to share insights, past learnings, or concerns.
Add any project‑specific questions at any time, while the thought is there.
Use this section following the HAZID prompts
(Delete me)

## Slide 18
HAZID (Hazard Identification)
Node/System/Activity: [Insert Name]
Description: Brief overview of the node or activity
Boundaries: Define scope
Interfaces: Connected systems/processes
Potential Hazards:
    [Hazard 1]
    [Hazard 2]
Causes & Consequences:
Cause → Consequence
Existing Safeguards:
[Safeguard 1]
Recommendations:
[Action Item]
Duplicate slide and fill out for each node / system / activity to be studied
(Delete me)

## Slide 19
HAZID Checklist Review (Hazard Identification)
Category | Questions | 
Scope / Justification | Scope and objective identified and understood? | Business drivers identified? Risk reduction targets set?
Project Controls | Need for Hazard studies considered (i.e. HazID, HazOpS, and SIL)? Hazard Register reviewed / created? Change Control process? Stakeholder involvement / interfaces considered? Contracting strategy? | 
Hazard Identification | Maintenance Hazards | Maintenance philosophy identified? Heavy lifting requirements? Access requirements? Protection / interlock override for maintenance? Isolation requirements? Confined Spaces?
 | Services | Fire water systems? Chemical / fuel storage? o Power supply? Non-standard cabling? Drains? Waste storage and treatment? Concealed Services?
Category | Questions | 
Hazard Identification | Construction / existing facilities | Project interfaces? Concurrent operations? Outage requirement? Common Equipment capacity (e.g. oil, batteries, rtu’s) ? Lay down areas, capacity and / or congestion
 | Competency | Training requirements? New / novel technologies? Changes in control / protection / safe shutdown philosophies? Specialist resource availability (e.g. construction, commissioning, maintenance)

## Slide 20
HAZID Checklist Review (Hazard Identification)
Category | Questions
External Events | Is the system safe from an accident in an adjacent machine? Is the system safe during construction operations? · Is the system safe from flooding? Is the system protected from ruptured pipelines? Is the system safe from an external fire? · Is the system protected against missiles (e.g. from compressed gas cylinders, rotating equipment, explosions)? Are there safeguards in place to prevent sabotage, terrorism, or vandalism? Is the system safe from a vehicle accident? Is protection provided against impact and dropped objects from cranes, forklifts or other lifting devices? Is the system protected from external fires involving combustible materials? Is the system protected from a fire that spreads from an adjacent system? Is the system designed to handle flooding of streams, rivers, lakes, ponds, etc. and storm water drainage? Is the system protected against falling debris? Is the system protected against missiles generated by high winds?
Category | Questions
External Events | Can the system withstand anticipated or unanticipated loads from snow and ice? Is the system safe from lightning strikes, high winds, landslides and lightning strikes? Is an alternative power source available if the power supply is damaged due to a lightning strike or high winds? Is the system protected against static discharge? Is the system safe from seismic activity? Is the system safe from erosion due to flooding, river currents, tidal action, etc.? Are there alternative supplies of key utilities? Are there Emergency procedures for the loss of key utilities? Are there any issues arising from adjacent land use (forestry, world heritage, fish farms, downstream users, social / cultural areas of significance). Are there any issues arising from previous land use i.e. contaminated ground?

## Slide 21
HAZID Checklist Review (Hazard Identification)
Category | Questions
Human Error | Is equipment identified properly? Is equipment always available? Is equipment accessible? Can equipment be operated when needed? Are Operators able to hear / see alarms? Are the procedures clearly defined? Are the procedures complete? Are responsibilities made clear? Can the procedures actually be followed? Can the procedures easily be understood? Are Operators properly trained in all aspects of operation? Are Operators trained to handle Emergency situations? Are Operators trained in the use of safety equipment? Do Operators receive refresher training? Are Operators qualified to perform the operation? Are Operators able to perform assigned tasks? Are Operators aware of operating limits? Do Operators follow operating procedures? Can Operators always communicate when needed?
Category | Questions
Equipment | Is equipment inspected regularly? Is equipment rated and inspected for the service in which it is used? Is there a safe separation between operating and critical pressures? Is there a safe separation between operating and critical temperatures? Is equipment inspected for internal corrosion? · Is a schedule in place to ensure adequate lubrication of the equipment? Is equipment properly supported? Are spare parts accessible for critical equipment? Are danger points adequately guarded? Rotating parts? Pinch or nip points? Belts? Cutting edges? Hot Surfaces? Are operating controls positioned for safe use? Are valves, switches, instruments and other operating controls clearly identified? Do automatic controls fail safe? Do piping and wiring appear to be in good condition and adequate for the intended use? Are pressure relief devices adequately sized and accessible for inspection? Does the equipment conform to the earthing policy? Are Concealed Services known?

## Slide 22
HAZID Checklist Review (Hazard Identification)
Category | Questions
Construction Materials | Are the materials of construction protected from corrosion? Are the materials of different potential, leading to galvanic corrosion? Are materials of construction chosen that will minimize fouling? Are materials of construction chosen that will minimize vibration? Are materials of construction chosen that will minimize leakage? Are materials of construction chosen that will minimize erosion?
Category | Questions
Alarms | Are alarms installed where necessary? Are unnecessary alarms avoided? Is it possible to distinguish between different alarms? Are different alarm statuses clearly defined? Do alarms still function if there is a power failure? Are alarm limits properly set?
Compliance | Are there any legislative / compliance requirements that have been overlooked? Is there a need for plant registration (e.g. cranes, lifts)? Is design registration available (e.g. pressure vessels, cranes)? Are environmental and other Permits in place? Are mandatory inspections planned for? Is the Regulator required to be notified (lead risk work, asbestos)
Contingency Planning | Medical Support? Fire fighting support? Security Support? Spill leak / clean-up support?

## Slide 23
HAZID Checklist Review (Hazard Identification)
Category | Questions
Buildings | Are stairs and platforms equipped with necessary guard rails? Are approaches in a safe condition? Are lifts regularly inspected? Is the building safe from subsidence? Are foundations inspected regularly for corrosion and deterioration? Are foundations and structures designed for seismic forces? Is non-standard cabling likely to present a risk for this project?
Category | Questions
Buildings | Is the building / area in good repair? Is there more than one exit from the building / area? Are Emergency exits adequate and accessible? Are safety signs adequate and in good condition? Is safety equipment adequate and accessible? Is fire fighting equipment adequate and accessible? Is there adequate access for Emergency vehicles? Are spacings and clearances furnished for normal traffic maintenance or fire fighting adequate? Is lighting adequate for operations, walking and material handling? Is the lighting adequate for normal running maintenance? · Is the electrical service adequate? Are fire doors operable? Are there any openings in fire walls? Is general ventilation sufficient? Are Hazardous areas provided with adequate explosion venting? Does layout provide safe access for operation and maintenance? Are walkways large enough? Are walkways marked clearly? Are walkways clear of any debris? Is the floor free from tripping or slipping Hazards? Are stairs and platforms free from tripping Hazards?

## Slide 24
HAZID Checklist Review (Hazard Identification)
Category | Questions
Environmental | Have adequate provisions been made for the disposal of all wastes? Will run-off water be adequately contained if it can become chemically contaminated? Are bunding, draining and curbing adequate? Are bunding isolation valves closed? Have adequate provisions been made for small container handling? Plan in place for disposal of transformers or similar oil containing equipment including verification of oil line valve closure.
Category | Questions
Control Systems | Do automatic controls fail safe? · Have fail-safe position of valves been properly specified? Are valves, switches, instruments and other operating Controls clearly identified? Are control commands clearly defined and marked? Are controls free from logic errors? Are operating controls positioned for safe use? Are guards provided to prevent accidental activation or deactivation of switches? Are control lines properly protected? Are displays different for various purposes?
Documentations and Training | Have all Operators been trained for standard operating procedures? Is testing done on a regular basis to ensure that every Operator is trained properly? Have all training needs for the system been considered? Is regularly scheduled maintenance documented to ensure proper maintenance of all critical equipment? Have the appropriate manuals or programs been provided? Has a new or revised SOP or procedure been provided? · Have all changes been adequately communicated to all of the affected groups?

## Slide 25
HAZID Checklist Review (Hazard Identification)
Category | Questions
Other Equipment | Is equipment free from external corrosion? Is equipment inspected for internal corrosion? Is equipment inspected regularly? Is equipment rated and inspected for the service in which it is used? Is equipment properly supported? Is equipment equipped with pressure relief? Is there a safe separation between operating and critical pressures? Is there a safe separation between operating and critical temperatures? Is a schedule in place to ensure adequate lubrication of the equipment? Are spare parts accessible for critical equipment?
Category | Questions
Instrumentation | Will the system fail safe if instrumentation fails? Are instruments calibrated and tested for accuracy? Are all gauges, meters or recorders easy to read? Is the system free from sight glasses or direct reading liquid level gauges, or, if present, are they adequately protected from impact? Are devices protected from vibration?
Management | Are all needed resources available? Are management intentions properly communicated to the operations staff? Are audits performed on system operations? Are safety systems always used?
Pressure / Vacuum | Are Emergency relief devices installed where needed (e.g. breather vents, relief valves, rupture disks, liquid seal)? Are Emergency relief devices sized properly? Is every piece of equipment, which is capable of having internal pressures develop, protected by relief devices? Are pressure relief devices accessible for inspection? Is equipment rated and inspected for the service in which it is used?

## Slide 26
HAZID Checklist Review (Hazard Identification)
Category | Questions
Piping | Is piping inspected regularly? · Are piping systems inspected for stress and movement due to thermal expansion? · Are welds inspected regularly? · Is piping free from external corrosion? · Is piping inspected for internal corrosion? · Is piping protected from external impact? (e.g., trucks, forklifts, dropped objects, etc.) · Are sight glasses protected from accidental breakage? · Is piping protected from exceeding the maximum allowable working pressure? · Is piping protected from liquid hammer? · Is pressure relief provided? · Are check valves installed where needed? · Are block and bleed valves used where required for isolation? · Is piping designed without deadends? · Are screwed plugs, pipe caps or blank flange covers on all open-ended piping? · Is piping properly supported throughout the system? · Is piping cleaned to prevent fouling? · Is the piping specification suitable for its service?
Category | Questions
Worker Safety | Are Operators or other Workers unnecessarily exposed to serious injury in event of possible fire, explosion, large spills or mechanical failures? Are warning signs clearly posted? Is adequate lighting provided? Is Emergency lighting adequate? Is ventilation adequate for the process? Do vents discharge to a safe location? Is the physical layout free from any unnecessary Hazards? Is there a sufficient number of escape routes available? Is there adequate access for Emergency vehicles?
Procedures | Are the procedures clearly defined? · Are the procedures complete? · Are roles and responsibilities made clear? · Can the procedures easily be understood? · Can the procedures actually be followed?

## Slide 27
HAZID Checklist Review (Hazard Identification)
Category | Questions
Rotating and Mechanical Equipment | Is there a safe separation between operating and critical speeds? Is there a safe separation between operating and critical pressures? Is there a safe separation between operating and critical temperatures? Is equipment rated and inspected for the service in which it is used? Is equipment inspected regularly for corrosion to anticipate and prevent failure in service? Is the system equipped with Emergency shutdown systems? Does the equipment have the proper guarding? Are local switches provided for equipment which is operated remotely, to prevent Worker injury during maintenance? Is a schedule in place to ensure adequate lubrication of machinery? Are spare parts accessible for critical equipment? Are adequate check valves installed to prevent reverse flow and reverse rotation of pumps, compressors and drivers?
Category | Questions
Pumps | Is the system designed to protect against potential dead-heading of a pump? Is the system designed to prevent cavitation or running pump dry?
Safety Systems | Are fire alarms accessible to all Workers? Are automatic sprinklers installed? Are hydrants located in the vicinity of the system? Do bunds have sufficient capacity? Do bund walls have sufficient strength? Are bund walls at a proper distance from the tank? Do bunds have drain valves outside of the bund?
Trips | Remote trips? Are intertrips required? Any Hazards Introduced from intertrips? Isolation of trips considered / interlocked? Testing of trips?

## Slide 28
HAZID Checklist Review (Hazard Identification)
Category | Questions
Utility Systems | Will disturbances in one section affect the operation of other independent sections of the plant? Are instruments protected from voltage disturbances? Are interlocks and shutdown devices made to fail safe? Is the physical layout of the system simple so that it minimizes human error? Can electrical equipment be taken out of service for maintenance without interrupting production? Can equipment operation be monitored through the electrical system? Is the system protected against overloading or short circuiting? Is the system protected against static build-up? Is the system protected against lightning strikes? Is the Emergency lighting adequate for power failures? Are power disconnects or starters accessible during accidents? Will the process shutdown automatically if pressure / voltage is lost? Are cooling water and fire water supplies separate? Is cooling water treated to prevent fouling and bacterial growth? Are block and bleed valves installed?
Category | Questions
Valves | In the case of an Emergency, do valves fail safe? Has the fail safe position of valves been properly and clearly specified? Are limit switches set at appropriate levels? Are controllers and control valves accessible for maintenance? Are valves protected from external impact? (e.g., with trucks, forklifts, etc.) Are valves inspected for external corrosion? Are valves inspected for internal corrosion
Vessels | Is the vessel rating suitable for the operating conditions? Is the vessel free from external corrosion? Are vessels inspected regularly for external damage? Are vessels equipped with pressure relief valves? Is the grading, from the inlet and outlet connections, sloped away from the vessel? Is the vessel properly supported?

## Slide 29
HAZID Checklist Review (Hazard Identification)
Category | Questions | 
Category | Questions | 

## Slide 30: HAZOP Slide Template

## Slide 31
HAZOP (Hazard and Operability Study)
Node: [Insert Name]
Design Intent: Normal operating conditions
Guide Words Applied:
No / More / Less / Reverse / Other than
Deviation:
Potential Hazards/Opportunity:
    [Hazard / Opp 1]
    [Hazard / Opp 2]
Causes & Consequences:
      Cause → Consequence
Safeguards:
      [Existing Control]
Recommendations:
      [Action Item]
Duplicate slide and fill out for each node / system / activity to be studied
(Delete me)

## Slide 32
HAZOP Checklist Review (Hazard and Operability Study)
Category | Questions
Scope / Justification | Have the project objectives / targets been achieved for risk / output / efficiency? Review the actions from previous HAZOPs to confirm that agreed actions have been completed or that any changes are justified.
Equipment | Has equipment operation been satisfactory? Does the equipment operate reliably? Are fault / breakdown levels acceptable? Have adequate spares been identified, purchased (where required), placed in store and SAP updated Is regularly scheduled maintenance being carried out?
Control Systems & Alarms | Have any logic errors been discovered? Are alarms installed where necessary? Are there unnecessary local or ECS alarms? Are there nuisance local or ECS alarms? Are alarm limits properly set?
Category | Questions
Documentation & Knowledge Transfer | Have any changes made since commissioning been properly documented? Has the transfer of knowledge from the ‘Project’ to the operating environment been successful? Have Operating Instructions been updated / completed? Have Maintenance Instructions been updated / completed? Has SAP been updated? Has regularly scheduled maintenance been documented and updated in SAP? Has the AIL been updated? Has (or will) a Project Implementation Review meeting be carried out? Has (or will) Project Implementation Review Report be completed?
Compliance | Are there any legislative / compliance requirements that have been overlooked?
This acts as a memory‑jogger drawn from many industry sources
Helps us team scan widely across possible hazard categories
Participants are encouraged to raise issues early, even if uncertain
We will skim through the list together, pausing only when a point triggers discussion.
Everyone is encouraged to share insights, past learnings, or concerns.
Add any project‑specific questions at any time, while the thought is there.

## Slide 33: Construction Study Slide Template

## Slide 34
Construction Study (HAZOP-Hazard and Operability Study)
Node: [Insert Name]
Design Intent: Normal operating conditions
Guide Words Applied:
No / More / Less / Reverse / Other than
Deviation:
Potential Hazards/Opportunity:
    [Hazard / Opp 1]
    [Hazard / Opp 2]
Causes & Consequences:
      Cause → Consequence
Safeguards:
      [Existing Control]
Recommendations:
      [Action Item]
Duplicate slide and fill out for each node / system / activity to be studied
(Delete me)

## Slide 35
HAZOP Checklist Review (Hazard and Operability Study)
Category | Questions
Scope / Justification | Have the project objectives / targets been achieved for risk / output / efficiency? Review the actions from previous HAZOPs to confirm that agreed actions have been completed or that any changes are justified.
Equipment | Has equipment operation been satisfactory? Does the equipment operate reliably? Are fault / breakdown levels acceptable? Have adequate spares been identified, purchased (where required), placed in store and SAP updated Is regularly scheduled maintenance being carried out?
Control Systems & Alarms | Have any logic errors been discovered? Are alarms installed where necessary? Are there unnecessary local or ECS alarms? Are there nuisance local or ECS alarms? Are alarm limits properly set?
Category | Questions
Documentation & Knowledge Transfer | Have any changes made since commissioning been properly documented? Has the transfer of knowledge from the ‘Project’ to the operating environment been successful? Have Operating Instructions been updated / completed? Have Maintenance Instructions been updated / completed? Has SAP been updated? Has regularly scheduled maintenance been documented and updated in SAP? Has the AIL been updated? Has (or will) a Project Implementation Review meeting be carried out? Has (or will) Project Implementation Review Report be completed?
Compliance | Are there any legislative / compliance requirements that have been overlooked?
This acts as a memory‑jogger drawn from many industry sources
Helps us team scan widely across possible hazard categories
Participants are encouraged to raise issues early, even if uncertain
We will skim through the list together, pausing only when a point triggers discussion.
Everyone is encouraged to share insights, past learnings, or concerns.
Add any project‑specific questions at any time, while the thought is there.

## Slide 36: Checklists

## Slide 37: Checklists
        Return to contents page
Two mandatory checklists are provided to support assurance at key project lifecycle phases where a HAZID or HAZOP study is triggered. These checklists do not replace hazard studies; rather, they provide a structured and collaborative means of confirming that hazard study outcomes have been appropriately reviewed, understood, and addressed prior to progressing to the next lifecycle phase. The checklists are typically completed at the conclusion of the relevant hazard study.
Commissioning Readiness: Where commissioning activities are undertaken, the Hazard Study Commissioning Readiness Checklist shall be completed to verify that commissioning‑related hazards, safeguards, and actions identified through hazard studies have been implemented and communicated.
Handover Readiness: Prior to the transfer of responsibility to Operations or the next lifecycle owner, the Hazard Study Handover Readiness Checklist shall be completed to confirm readiness for handover.
Where a formal hazard study is not required based on the project or change risk profile, completion of these checklists is not mandatory and may be applied at the discretion of the responsible Job Manager, Commissioning Manager, Project Director or Asset Owner.
Use checklist template from Hazard Study Intranet Page
(Delete me)

## Slide 38: Recommendations & Actions

## Slide 39
Recap of Key Findings
HAZID, HAZOP & Construction Study
Major hazards and risk themes identified across design and construction stages
Key deviations, failure modes, and operability concerns documented
Construction‑phase risks highlighted (access, staging, lifting, interfaces, temporary works)
Required design changes, clarifications, and safeguard improvements captured
Actions captured
Items requiring further detailed analysis or follow‑up studies noted

## Slide 40: Next Steps

## Slide 41
Next Steps & Reporting Timelines
Next Steps
Review and tidy up PRR, action list and allocate responsibilities
Incorporate agreed design or planning changes
Review follow‑up requirements (e.g., CHAZOP, Bowtie, detailed engineering review)
Confirm construction methodology adjustments and control measures
Update PRR and project documentation
Reporting Timelines
Action register planned to be distributed: [Insert date]

## Slide 42: Thank you for being part of our story